## Slide 1: Virtuel Instrumentering: LabView Introduction 3
Samuel Alberg Thrysøe, PhD, PostDoc, Kontakt info: Email: sat@iha.dk, Tlf: +45 25533552

## Slide 2: Repetition

## Slide 3: Plotting data with irregular spacing
Waveform Chart
Waveform Graph
XY Graph
Indicator Graph

## Slide 4: Plotting data with an offset and regular spacing delta X
Waveform Chart
Waveform Graph
XY Graph
Indicator Graph

## Slide 5: Plotting data with continual updating
Waveform Chart
Waveform Graph
XY Graph
Indicator Graph

## Slide 6: Controlling program flow: Case structures

## Slide 7: Case Structures
Have one or more sub-diagrams (cases)
Only one will run when the structured is called
The control wired to the selector input chooses which case to run
  Can be Boolean, string, integer, enum etc.
Right-click on the structure border to remove/add cases

## Slide 8: Case structures

## Slide 9: Select Function
Return the T(rue) value, if the boolean input is true
Returns the F(alse) value, if the boolean input is False

## Slide 10: 3.1 – Cases
3.1.1 - Temperature Case
3.1.2 – Dice Throw Response
3.1.3 – Square Root
*3.1.4 - Addition/Subtraction

## Slide 11: Controlling program flow: Select structures

## Slide 12: Which block runs first?
1
2
Block 1
Block 2
They run simultaneously

## Slide 13: Dataflow Programmering
Block Diagram Execution
  Depends on the dataflow
  Does NOT execute left to right/top to bottom
A node is executed when data is present at ALL the inputs
Nodes pass data to the output terminals when they are done

## Slide 14: Sequence Structures
Controls dataflow in VI block diagrams
Divides VI into frames
  Looks like celluloid film
Flow passes from frame to frame when all the nodes in the individual frame are done
Drawn like loops and case structures
Right-click the border to add/remove frames
Two types of sequence structures:
  Flat
    Provides better overview
  Stacked
    Like case structures
    Gives the opportunity to use local sequence variables

## Slide 15: Sequence structures
Flat structure
Stack structure

## Slide 16: Local variables
You can read from / write to controls and indicators everywhere in the sequence diagram
Right-click the icon and choose:
  Create  Local variable
  Right-click the local variable to switch between
    Read
    Write

## Slide 17: 3.2 – Sequencestructures
3.2.1 – Response Time
*3.2.2 - Time to Match 2

## Slide 18: Formula nodes
A formula node contains … Formulas!
Y=x^2+x+1 on a normal block diagram:
And as a formula node:

## Slide 19: Creating a formula node

## Slide 20: Another way to create a formula
Use the Formula Express VI
  Express -> Arithmetic & Comparison -> Formula
Write the formula using the inputs, which you can label
Wire the in-/outputs on the Block Diagram

## Slide 21: 3.3 – Formula Nodes
3.3.1 - Temp Conversion 2

## Slide 22: Sub VIs

## Slide 23: Sub VIs
Collections of code
Low-level VI inside high-level VI
  Reduces the number of Block Diagram nodes
  Increases readability
  Modular approach
Analogue to functions in text-based languages

## Slide 24: LabView SubVIs ~ Functions
Function Pseudo Code
function average (in1, in2, out)
{
out = (in1 + in2)/2.0;
}
SubVI Block Diagram
Calling Program Pseudo Code
main
{
average (in1, in2, pointavg)
}
Calling VI Block Diagram
Notes: A subVI node corresponds to a subroutine call in text-based programming languages. The node is not the subVI itself, just as a subroutine call statement in a program is not the subroutine itself. A block diagram that contains several identical subVI nodes calls the same subVI several times.
The modular approach makes applications easier to debug and maintain.
The functionality of the subVI does not matter for this example. The important point is the passing of two numeric inputs and one numeric output.
Introduction to LabVIEW Hands-On 42 ni.com

## Slide 25: Creating SubVIs
2 methods
  Create a blank VI and insert the wanted nodes
  Mark a number of nodes in the Block Diagram and choose Edit -> Create SubVI
Controls  Inputs
Indicators  Outputs

## Slide 26: Creating SubVIs
Mark the area, to be turned into a SubVI
Choose Edit  Create SubVI
Notes: © National Instruments Corporation 41 Introduction to LabVIEW Hands-On

## Slide 27: Changing the Icon
Important to differentiate the SubVIs
Right-click the standard-icon to the top right on the Block Diagram and choose: Edit Icon

## Slide 28: Changing the Connections
Right-click the VI icon to the top right on the Front Panel and choose: Show Connector
The Icon changes to connector
  Edit the terminals by right-clicking the connector and choose Add/Remove Terminal
  Or choose standard configurations
    Right-click Connector -> Patterns
Connect inputs (left) with controls
Connect outputs (right) with indicators

## Slide 29: Changeing the Connections

## Slide 30: Connect SubVIs in the Block Diagram
The terminals are named according to the names of the controls/indicators in SubVIs

## Slide 31: Connection Properties
Connections can be
  Required
  Recommended
  Optional

## Slide 32: Default values
The values of controls can be set to standard
  Edit -> Make Current Values Default
These are used, if the input is not connected

## Slide 33: SubVIs
TempConversion.vi

## Slide 34: 3.4 – SubVIs
3.4.1 – Choose Column
3.4.2 - DiceThrows3_SubVIs
*3.4.3 - Random LED_SubVI

## Slide 35: Cluster Data

## Slide 36: LabView Clusters
Analogue to Structs in C++ / Matlab
Combines one or more data types in a single structure
  Eg boolean, strings and integers
Reduceres the complexity of block diagrams
Unbundle gives access to the individual elements

## Slide 37: Creating Clusters
Create a cluster shell
  Using same approach as case structures and loops
  Controls -> Modern -> Array, Matrix & Cluster

## Slide 38: Cluster Ordering
Changing the order of cluster components:
  Right-click the border of the cluster on the Front Panel
  Choose ”Reorder Controls In Cluster…”
Two boxes will appear on all the cluster components
  White = Current position
  Black = New position
To move a component:
  Choose the top space
  Click on the control
1
2

## Slide 39: Cluster Order
ClusterOrder

## Slide 40: Bundle / Unbundle
Terminal labels reflect the data type
Updates specific cluster object values
Returns the cluster elements named

## Slide 41: Cluster <-> Array
You can change between clusters and arrays IF
  All cluster components have the same data type
    All are boolean/numeric/string etc.

## Slide 42: 3.5 – Clusters
3.5.1 - Cluster IO
3.5.2 - Cluster Bundling
*3.5.3 – Login